
**Supplemental Material**

****

**Supplemental Figure 1. A -** dRA puncture with a 21G x 4cm needle followed by wiring. If there is wiring resistance, instead of partially advancing a potentially traumatic standard radial introducer, a 7cm Micropuncture Pedal Introducer could be inserted. **B** - Intraluminal (dRA) Micropuncture Pedal Introducer and guidewire in place. **C** - Micropuncture Pedal Introducer connected to the CheckFlo® haemostasis valve in order to perform radial artery angiography and heamodynamic assessment.



**Supplemental Figure 2**. Sheathless guide catheter via dRA for coronary intervention.