# Supplemental Table 1 Computed Tomography acquisition and reconstruction parameters

|  |  |  |
| --- | --- | --- |
| **Parameter** | **Computed tomography** | |
| **Phase** | **Non-contrast** | **Arterial/venous** |
| **Brand** | Canon Medical Systems - Aquilion | Canon Medical Systems - Aquilion |
| **Patient position** | Feet-first supine | Feet-first supine |
| **Acquisition type** | Spiral | Spiral |
| **Spiral pitch factor** | 0.813 | 0.813 |
| **Samples per pixel** | 1 | 1 |
| **Pixel spacing (mm)** | 0.740/0.740 | 0.740/0.740 |
| **Slice thickness (mm)** | 0.5 | 0.5 |
| **Reconstruction algorithm and convolution kernel group** | Advanced intelligent Clear-IQ Engine (AiCE) | Advanced intelligent Clear-IQ Engine (AiCE) |
| **Convolution kernel** | BODY\_SHARP | BODY\_SHARP |
| **Image filter** | Beam hardening correction | Beam hardening correction |
| **Filter type** | LARGE | LARGE |
| **Focal spot(s)** | 0.9/0.8 | 0.9/0.8 |
| **Filter material** | ALUMINUM/COPPER | ALUMINUM/COPPER |
| **Rescale intercept** | 0 | 0 |
| **Contrast agent** | None | Iomeron 300 |
| **Contrast bolus (mL)** | None | 150 |
| **Rescale slope** | 1 | 1 |
| **Kilo voltage peak (kVp)** | 120 | 120 |
| **Exposure time (ms)** | 750 | 500 |
| **Tube current (mA)** | 240 | 107 |
| **Exposure (mAs)** | 180 | 54 |
| **Revolution time** | 0.75 | 0.5 |
| **Single collimation width** | 0.5 | 0.5 |
| **Total collimation width** | 40 | 40 |