**Appendix 1** Comparison between endoscopic versus fetoscopic interventions. (mm=millimeter, CO2=carbon dioxide, MMC=myelomeningocele)

|  |  |  |
| --- | --- | --- |
|  | **Endoscopic interventions** | **Fetoscopic interventions** |
| **Lens diameter** | Bigger lens (5-10 mm)-good visibility | Smaller lens (1.3-2 mm)-limited visibility |
| **Puncture techniques** | Direct puncture (under visualization) | Ultrasound-guidedSeldinger technique |
| **Medium** | CO2 (endoscopy)Crystalloid (hysteroscopy) | Protein-rich medium CO2 (for MMC repair) |
| **Ports** | Multiple ports, fixed point | Single port, strategic locationsMultiple ports (for MMC repair) |
| **Target organ** | Mature Inadvertent damage causes less impact | DevelopingInadvertent damage is magnified. |